DR-MACE Clinical Decision Support System

User Manual v2.0 | 用户操作手册

⚠️ DISCLAIMER: For Research & Reference Only. Not for Primary Diagnosis.
⚠️ 免责声明：仅供科研与参考，不可用于临床确诊。

Part 1: English Version

1. Introduction

The DR-MACE System is an AI-powered tool designed to assist clinicians and researchers in stratifying the 3-year risk of Major Adverse Cardiovascular Events (MACE) for patients with Diabetic Retinopathy.

2. Operation Guide

2.1 Individual Assessment (Clinical Use)

Used for real-time, single-patient risk evaluation.

Step 1: Input Data
Navigate to 'Individual Assessment'. Enter the 6 key parameters: Gender, SBP (mmHg), HGB (g/L), BUN (mmol/L), T-Wave Abnormalities, and Statin usage.

Step 2: Run Analysis
Click the '🚀 Run Risk Assessment' button.

Step 3: Download Report
Review the risk gauge and factor analysis. Scroll down to click '📥 Download Official PDF Report' to save the AI Risk Analysis Report.

Note: This is an auxiliary analysis report, not a legal medical certificate.

2.2 Batch Cohort Analysis (Research Use)

Designed for processing bulk datasets (Excel/CSV).

Step 1: Download Template

Go to 'Batch Cohort Analysis', expand the instruction panel, and download the CSV Template.

Step 2: Upload & Process

Fill in your data (do not change headers) and upload the file.

Step 3: Export Results

Download the processed Excel file containing 'MACE_Probability' and 'Risk_Stratification' columns.

3. F.A.Q

Q: Why does the file upload fail?
A: Check column headers. Use English headers (e.g., 'SBP(mmHg)') exactly as shown in the template.

Q: Can I use this for diagnosis?
A: NO. This tool provides a probabilistic reference only. Final decisions must be made by a qualified physician.

Part 2: 中文版 (Chinese Version)

1. 系统简介

DR-MACE 系统是一款基于人工智能的辅助工具，旨在帮助临床医生和科研人员预测糖尿病视网膜病变患者在未来 3 年内发生主要不良心血管事件（MACE）的风险概率。

2. 操作指南

2.1 单例患者评估 (临床应用)

适用于门诊或床旁的实时单人评估。

第一步：录入数据
在 'Individual Assessment' 页面输入 6 项指标：性别、收缩压、血红蛋白、尿素氮、T波异常及他汀类药物使用情况。

第二步：运行分析
点击红色的 '🚀 Run Risk Assessment' 按钮。

第三步：下载报告
查看仪表盘和归因分析。向下滑动点击 '📥 Download Official PDF Report' 下载 AI 风险评估报告。

注意：此文件仅为 AI 辅助分析结果，不作为正式医疗诊断文书。

2.2 批量队列分析 (科研应用)

专为处理 Excel/CSV 表格数据设计。

第一步：下载模板

进入 'Batch Cohort Analysis' 页面，展开说明栏，下载 CSV 数据模板。

第二步：上传与处理

填入数据（请勿修改表头名称）并上传文件。

第三步：导出结果

下载包含风险概率和分组结果的 Excel 表格。

3. 常见问题 (Q&A)

Q: 为什么上传 Excel 报错？
A: 请检查表头列名。必须使用模板中的英文列名（如 'SBP(mmHg)'），不能改为中文。

Q: 结果可以直接用于确诊吗？
A: 不能。本工具仅提供概率参考，最终诊疗方案请以医生判断为准。